## Tris pH
Date | TRIS_salinity | Temp_C | Temp_K | pH | mV1 | mV2 | Avg Mv | Eo | Nernst | Probe_Name | Notes
2018-04-10 | 35 | 24.6 | 297.75 | 8.106 | -64.6 | -64.6 | -64.6 | 414.3059 | 59.0801 | example
2020-10-30 | 35 | 26.1 | 299.25 | 8.0593 | -87.5 | -86.9 | -87.2 | 391.3426 | 59.3777 | probeA
2020-10-30 | 35 | 26.3 | 299.45 | 8.0531 | -93.6 | -93.4 | -93.5 | 384.9936 | 59.4174 | probeB
2020-10-30 | 35 | 26.8 | 299.95 | 8.0376 | -103.6 | -101.7 | -102.65 | 375.7205 | 59.5166 | probeC | *mV3 -102.7
2020-10-30 | 35 | 27 | 300.15 | 8.0314 | -74.2 | -75.2 | -74.7 | 403.621 | 59.5563 | probeD
2020-10-30 | 35 | 26.7 | 299.85 | 8.0407 | -61.5 | -61.3 | -61.4 | 416.9952 | 59.4967 | probeE
2020-11-02 | 35 | 26.5 | 299.65 | 8.0469 | -103.1 | -103.9 | -103.5 | 374.9445 | 59.4571 | probeC | Post submersion
2020-11-02 | 35 | 26.1 | 299.25 | 8.0593 | -75.6 | -75.6 | -75.6 | 402.9426 | 59.3777 | probeD | Post submersion

## mV data
CRANG | DateTime | Mv1 | Avg Mv | Temp 1 | Avg. Temp | Salinity | pH (total scale) | Eo (from tris) | Nernst | Fill w/ Eo Value | Equation
3 | 2020-11-02 | -103.5 | -103.5 | 26.5 | 26.5 | 35 | 8.0469 | 374.9445 | 59.4571
4 | 2020-11-02 | -75.6 | -75.6 | 26.1 | 26.1 | 35 | 8.0593 | 402.9426 | 59.3777
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
[6 empty] | 35 |  |  |  |  | #REF!
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
[6 empty] | 35 |  |  |  |  | 415.2111
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
[6 empty] | 35 |  |  |  | Honeywell changes | previous offsets
[6 empty] | 35 |  |  |  | #REF! | 0.12 | 0.030618
[6 empty] | 35 |  |  |  | #REF! | 0.1 | -0.031503
[6 empty] | 35 |  |  |  | #REF! | 0.08 | -0.015579
[6 empty] | 35 |  |  |  | #REF! | 0.11 | -0.02215
[6 empty] | 35 |  |  |  | #REF! | 0.07 | -0.0066296
[6 empty] | 35 |  |  |  | #REF! | 0.09 | -0.01104
[6 empty] | 35 |  |  |  | #REF! | 0.08 | -0.010833
[6 empty] | 35 |  |  |  | #REF! | 0.06 | -0.0038031
[6 empty] | 35 |  |  |  | #REF! | 0.08 | 0.004897
[6 empty] | 35 |  |  |  | #REF! | 0.06 | 0.02048
[6 empty] | 35 |  |  |  | #REF! | 0.06 | -0.0017558
[6 empty] | 35 |  |  |  | #REF! | 0.08 | 0.014034
[6 empty] | 35 |  |  |  | #REF! | 0.07 | 0.003598
[6 empty] | 35 |  |  |  | #REF! | 0.07 | 0.0046248
[6 empty] | 35 |  |  |  | #REF! | 0.07 | 0.0064417
[6 empty] | 35 |  |  |  | #REF! | 0.09 | -0.020389
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
35
Note on M20: accretelab: Eo with Tris salinity at 29.6
Note on M39: accretelab: Eo with Tris salinity at 29.5

## Instructions
Start on the "Tris pH" sheet. Input your data into the non-shaded cells. Calculations are done in colored cells, with Eo shaded blue. Copy this Eo and paste (value only) into the Eo column on the "mV data" sheet. Again, enter data into non-shaded cells and read calculations in shaded cells.